## Slide 1: Modelling and validation of wind turbine wake superposition - Using wind farm data
Midterm meeting - 16/04/2018
Ottelien Bossuyt
DTU Student nr: s163141 TU Delft Student nr: 4624351

## Slide 2: Agenda
Introduction
Wake models & Superposition methods
Data
BEACon & LES comparison
LES superposition
Next steps

## Slide 3: Introduction

## Slide 4: Introduction
Large wind farms
Lower wind speed and power production
Interaction of multiple wakes
Simple/engineering models of single wakes
Can these models be superposed?
Real measurements (BEACon) simulation data (LES)
http://www.noaanews.noaa.gov/stories2011/images/vattenfall-image_300.jpg

## Slide 5: Wake models & Superposition methods

## Slide 6: Wake models
Jensen model
Ainslie model
Larsen model
Infinite wind farm boundary layer
Frandsen model
Bastankhah & Porté-Agel
Fuga
Dynamic Wake Meandering

## Slide 7: Park model
Jensen model
Wake coefficient
Correction factor
Wake reflection: “mirror wind turbines”
Superposition method
A note on wind generator interaction , N. O. Jensen, 1983
A simple model for cluster efficiency, I. Katic, J. Højstrup, and N. O. Jensen. Ewec’86 Proceedings, 1987
Results of wake simulations at the Horns Rev I and Lillgrund wind farms using the modified Park model, A. Peña Diaz, P.-E. Rethore, C. B. Hasager, and K. S. Hansen., 2013.
Validation of the revised WAsP Park model, O. S. Rathmann, B. O. Hansen, J. M. Leon, K. S. Hansen, and N. G. Mortensen. 2017.
Notes: Quadratic + wake reflection + correction factor

## Slide 8: Fuga
Linearized CFD model based on RANS equations
Look-up tables including stability
Linear wake summation
Implemented in WAsP
Linearised CFD models for wakes, S. Ott, J. Berg, and M. Nielsen. 2011

## Slide 9: Superposition methods
Wake deficit
Linear superposition
Quadratic superposition
Maximum deficit
Geometric sum
Energy balance

## Slide 10: Park model – Sensitivity Study
What is the influence of and on ?
Notes: dU ranges between 0,3 and 0,07 for wake deficit 7D behind wind turbine  Uo=10  2,3m/s difference

## Slide 11: Park model – Sensitivity Study
What is the influence of the correction factor, wake reflection and superposition method on ?
Without wake reflection With wake reflection
Notes: 7D between wind turbines
Wake reflection increases deltaU, especially for linear, minimal difference for quadratic and max
Correction factor has a big influence

## Slide 12: Data

## Slide 13: BEACon
Dual-Doppler radar system
Westermost Rough wind farm, east coast UK
Radial wind speeds combined into 3D Cartesian grid
Extract inflow profile: average inflow in cross-stream direction at each height
N. G. Nygaard, F. E. Brink, J. S. Gretlund, B. Hirth, J. Schroeder, and J. Guynes. Wake measurements in an offshore wind farm using dual-Doppler radars.

## Slide 14: WMR wind farm & wind turbine

## Slide 15: BEACon - Data sets
Case 1
Case 2
Case 3
Notes: Domains are rotated such that wind direction is from the west

## Slide 16: Large Eddy Simulation (LES)
EllipSys3D Solver
Wake behind actuator line model
Mann’s turbulent box
High computational cost
Time averaging
Spatial averaging: BEACon grid
Scaled DTU10MW WT
Block structured multigrid solution of 2D and 3D elliptic PDE’s, J. Michelsen, T. U. of Denmark, 1994.
General purpose ow solver applied to flow over hills, N. N. Sørensen, 1995,
Actuator line modeling of wind turbine wakes , N. Troldborg. 2009

## Slide 17: Data planes

## Slide 18: Comparison BEACon & LES
Focus on Case 3 ()

## Slide 19: BEACon & LES
Horizontal plane at 100 m height

## Slide 20: BEACon & LES
WT
Streamwise line through first wind turbine

## Slide 21: BEACon & LES - Streamwise
Wind profile along streamwise line at 100 m height

## Slide 22: Fuga
Wind profile along streamwise line at 98,46 m height

## Slide 23: BEACon & LES – Horizontal profiles
Horizontal profiles at 100 m height

## Slide 24: LES superposition
Focus on Case 1 (

## Slide 25: LES superposition
Horizontal plane at 100 m height
Case 1: yaw error of -1,06°
Notes: Pos yaw: yawed counterclockwise (seen from above)

## Slide 26: LES superposition
Individual fields will be superposed
Notes: Should be done: scaling of wind field taking into account the descreased wind speed of the downstream wind turbines

## Slide 27: LES Superposition

## Slide 28: LES Superposition
Maximum wake deficit / Minimum velocity
Wake profile along streamwise line
Horizontal profiles at different downstream distances
Wake boundary

## Slide 29: LES Superposition

## Slide 30: LES Superposition

## Slide 31: LES Superposition
Notes: Assymetrical wake

## Slide 32: LES Superposition

## Slide 33: LES Superposition
Big deflection in upper part of wake due to yaw error?

## Slide 34: Next steps

## Slide 35: Next steps
New LES simulations (by Søren)
  Other wind turbine
  No yaw error, no veer, no shear, no extreme turbulence
  Single wake (above and below rated wind speed)
  Three wind turbines (above and below rated wind speed)
LES superposition
Comparison with engineering models
  Park, Fuga
  Wind profile along line in streamwise direction
  Horizontal wind profile
  Wake boundary: polynomial fit possible?

## Slide 36: Thesis Committee
TU Delft perspective | 
Full professor or associate professor | Michiel Zaaijer
Staff member Aerospace Eng | ?
Your DTU supervisor | Søren Juhl Andersen
If applicable: your company supervisor | Nicolai Gayle Nygaard
If applicable: your daily supervisor (PhD student) | /
DTU perspective | 
Your DTU supervisor | Søren Juhl Andersen
Your TU Delft supervisor | Michiel Zaaijer
External examiner (CensorNet) it happens that Gerard van Bussel, Carlos Ferreira and Roland Schmehl are on that list. | ?

## Slide 37: Questions?

## Slide 38: Comparison data & Park (Case 1)
Data at 100m height Park: quadratic superposition, with correction factor and wake reflection

## Slide 39: Comparison data & Park (Case 1)
Park: quadratic superposition, with correction factor and wake reflection

## Slide 40: LES
Notes: Vhub: wind speed 1R upstream of hub
Case 3

## Slide 41: LES
Notes: Case 3