## Slide 1: Meeting 9
Tuesday 13/03/2018

## Slide 2: Agenda
LES data
Rotor averaged wind speed
Comparison BEACon & LES data
Comparison data & PARK model

## Slide 3: Cases
Case 1
  11,8 m/s
  Wind direction aligned with wind farm lay-out
Case 2
  9,0 m/s
  Wind direction not aligned with wind farm lay-out
Case 3
  9,5 m/s
  Wind direction aligned with wind farm lay-out

## Slide 4: LES data
New data available
Spatial averaged: grid spacing 25 m
Time averaged
  T = 10 min
  Sampling every 1 min
  Moving window with 10 s

## Slide 5: Rotor averaged wind speed

## Slide 6: BEACon & LES data (Case 1)
Data at 100m height

## Slide 7: BEACon & LES data (Case 3)
Data at 100m height

## Slide 8: Velocity along line (Case 1)
Data at 100m height

## Slide 9: Velocity along line (Case 3)
Data at 100m height

## Slide 10: Rotor averaged wind speed (Case 1)

## Slide 11: Rotor averaged wind speed (Case 3)
Fuga
Park

## Slide 12: Comparison data & Park (Case 1)
Data at 100m height Park: quadratic superposition, with correction factor and wake reflection

## Slide 13: Comparison data & Park (Case 1)
Park: quadratic superposition, with correction factor and wake reflection

## Slide 14: Fuga results
Velocity along line
  Full wind farm
  Only 3 wind turbines

## Slide 15: To Do
Superposition with LES data
Calibration single wake against LES or BEACon data?
  Calibration for every case?
  Calibration for all cases together?