## Slide 1: Meeting 10
Tuesday 27/03/2018

## Slide 2: Agenda
LES
  Wind turbine and output
  LES output
Turbulence intensity
Wind profile
  Inflow profile
  Comparison WMR & LES wind speeds
Horizontal profile
Next steps
Midterm meeting

## Slide 3: 1a. LES Wind turbine

## Slide 4: 1b. LES output (Case 3)
Notes: Mean ( Pelec / Pfrom power curve)=1,844

## Slide 5: 1b. LES output(Case 3)

## Slide 6: 1b. LES output(Case 3)

## Slide 7: 2. Turbulence Intensity BEACon (Case 3)
Nacelle anemometer and power production of wind turbine A01
The TI based on the nacelle anemometer over this 10-minute period is 11.7%.
The TI based on the wind speed derived from the power data is only 4.6%.
(Calculations by Nicolai)

## Slide 8: 2. Turbulence Intensity LES (Case 3)
TI based on 10-min averages
Turbulence is imposed in planes at 3,95D upstream of the first turbine
TI calculated at different positions downstream

## Slide 9: 3a. Inflow wind profile
Inflow profile BEACon: spatial averaged velocity (cross-stream plane)
Inflow profile LES
  Yellow: data only from one line
  Yellow-green: spatial averaged velocity (cross-stream plane)

## Slide 10: 3a. Inflow wind profile: BEACon
Difference Wind speed at 100m and 106m
U0 is actually at 100m –> gives already too low input velocity for LES
Spatial averaged inflow wind profile (Case 3)

## Slide 11: 3a. Inflow wind profile: WMR
Spatial averaged inflow wind profile (Case 1)

## Slide 12: 3a. Comparison WMR & LES wind profiles (Case 3)
Inflow profiles at different upstream positions
Where do we want to match them?

## Slide 13: 3a. Comparison WMR & LES wind profiles (Case 1)
Inflow profiles at different upstream positions
Where do we want to match them?

## Slide 14: 3a. Inflow wind profile
Inflow profile BEACon: spatial averaged velocity (cross-stream plane)
Inflow profile LES: data only from one point
Blue: 106m height (hub) Pink: 100m height

## Slide 15: 3b. Comparison WMR & LES wind speeds
Wind speed at 100m and 106m: BEACon and LES
Case 3

## Slide 16: 3b. Comparison WMR & LES wind speeds
Wind speed at 100m and 106m: BEACon & LES with scaling (log(106)/log(100))
Case 3

## Slide 17: 3b. Comparison WMR & LES wind speeds
Wind speed at 100m and 106m: BEACon and LES
Case 1

## Slide 18
3b. Comparison WMR & LES wind speeds
Wind speed at 100m and 106m: BEACon & LES with scaling (log(106)/log(100))
Case 1

## Slide 19
3b. Comparison WMR & LES wind speeds + simple model induction
A simple model of the wind turbine induction zone derived from numerical simulations – N.Troldborg et al.

## Slide 20
3b. Comparison WMR & LES wind speeds + simple model induction

## Slide 21: 4. Horizontal profile
WMR: at 100m height
LES
  at 100,24 m and 107,53 m height
  Spatial averaged at 100 m height

## Slide 22: 4. Horizontal profile
Notes: At different downstream positions

## Slide 23: 4. Horizontal profile

## Slide 25: Next steps
New LES simulations
  Turbulence Intensity
  Inflow wind speed
Power spectrum (Nicolai)
Superposition of LES results
  Comparison wind field 1WT and wind field 3WT

## Slide 26: Midterm meeting
Monday 16/04, 9:30-10:30
Calendar invitation
15-20 min presentation + questions
Draft report
Next meeting? (planned on Tuesday 10/04 at 14:00)