## Slide 1: Meeting 14
Monday 28/05/2018

## Slide 2: Agenda
LES superposition
  New results with updated TI
  LES superposition with correction factor
Comparison: Park – LES
  How to quantify the wake differences?

## Slide 3: LES superposition
First calculating rotor averaged wind speed, then performing superposition  same result as first superposition and then calculation of rotor averaged wind speed
Single wakes
 | U0 | TI | CT
Wake 1 | 14 m/s | 3,6% | 0,46
Wake 2a | 11,2 m/s | 3,6% | 0,65
Wake 2b | 11,2 m/s | 8,6% | 0,65
Wake 3 | 8,55 m/s | 3,6% | 0,79

## Slide 4: LES superposition – single wakes

## Slide 5: LES superposition – single wakes

## Slide 6: LES superposition
Wake 1 + wake 2a + wake 3
Wake 1 + wake 2b + wake 3

## Slide 7: LES superposition
Wake 1 + wake 2a + wake 3
Wake 1 + wake 2b + wake 3

## Slide 8: LES superposition
Wake 1 + wake 2b + wake 2b

## Slide 9: LES superposition – with correction factor
Correction factor: 2 options, based on thrust coefficient
Decreasing the deficit
Increasing the deficit

## Slide 10: LES superposition – decreasing CF
Wake 1 + wake 2b + wake 2b (with decreasing CF)

## Slide 11: LES superposition – increasing CF
Wake 1 + wake 2b + wake 2b (with increasing CF)

## Slide 12: LES superposition – U0=11,2
Wake 2 + wake 3 + wake 3
TI should be higher
Deficit will be lower
Max deficit will occur at smaller x/D

## Slide 13: LES superposition – U0=11,2
Wake 2 + wake 2b + wake 2b
CT should be higher
Higher deficit
TI is correct
 Good trend

## Slide 14: LES superposition – U0=11,2
Wake 2 + wake 2b + wake 2b (with increasing CF)
Trend good because of TI

## Slide 15: LES superposition – U0=11,2
Wake 2 + wake 2b + wake 2b (with decreasing CF)
Trend good because of TI
Gives good results for linear superposition

## Slide 16: Comparison: Park - LES
U0=14 m/s
k=0,03
Wake reflection: not included as no hub height (difference small for quadratic and max deficit superposition)
6 cases:
  3 superposition methods: linear, quadratic, maximum deficit
  Correction method: true or false

## Slide 17: Comparison: Park - LES

## Slide 18: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    Wake 2
    Wake 3
  Mean wind speed field of a wake
    Wake 2
    Wake 3
  Rotor averaged wind speed at far wake
    Wake 2
  Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx (wake recovery)
    Wake 2

## Slide 19: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    1) Wake 2
    2) Wake 3
  Mean wind speed field of a wake
    3) Wake 2
    4) Wake 3
  Rotor averaged wind speed at far wake
    5) Wake 2
  6) Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx
    7) Wake 2

## Slide 20: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    1) Wake 2
    2) Wake 3
  Mean wind speed field of a wake
    3) Wake 2
    4) Wake 3
  Rotor averaged wind speed at far wake
    5) Wake 2
  6) Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx
    7) Wake 2

## Slide 21: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    1) Wake 2
    2) Wake 3
  Mean wind speed field of a wake
    3) Wake 2
    4) Wake 3
  Rotor averaged wind speed at far wake
    5) Wake 2
  6) Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx
    7) Wake 2

## Slide 22: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    1) Wake 2
    2) Wake 3
  Mean wind speed field of a wake
    3) Wake 2
    4) Wake 3
  Rotor averaged wind speed at far wake
    5) Wake 2
  6) Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx
    7) Wake 2

## Slide 23: How to quantify the wake differences?
7 ratings based on the relative difference between LES and Park model
  Minimum rotor averaged wind speed
    1) Wake 2
    2) Wake 3
  Mean wind speed field of a wake
    3) Wake 2
    4) Wake 3
  Rotor averaged wind speed at far wake
    5) Wake 2
  6) Whole mean wind speed field
  Mean of slope of rotor averaged wind speed: dU/dx
    7) Wake 2

## Slide 24: How to quantify the wake differences?
What is the total rate?
Give them all the ratings the same weights?
1. Min (wake 2)
2. Min (wake 3)
3. Ufield (wake 2)
4. Ufield (wake 3)
5. U far wake
6. Ufield
7. Slope of

## Slide 25: How to quantify the wake differences?
1. Min (wake 2)
2. Min (wake 3)
3. Ufield (wake 2)
4. Ufield (wake 3)
5. U far wake
6. Ufield
7. Slope of

## Slide 26: Next steps
Comparison with BEACon
Fuga
  Very high hub height not possible to compare with uniform inflow
  Other options?
Next meeting? 5/06/2018 at 14:00 12/06/2018 at 14:00