## Slide 1: Meeting 15
Monday 11/06/2018

## Slide 2: Agenda
BEACon data
Optimization method
  6 WT
  Different spacing
Next steps

## Slide 3: BEACon data
Why not rotor averaged wind speed?
  Data from height of 50 m (lowest point of rotor is 29 m)
  Non-symmetric wake (and horizontal plane at 100 m)  weighting function not possible
Plane at 100 m height: horizontal profiles

## Slide 4: BEACon - Park
RMSE of field (0,97D upstream to 16,2D downstream, +- 1,95 cross-stream)

## Slide 5: BEACon – streamwise line (Park)

## Slide 6: BEACon data – streamwise line

## Slide 7: BEACon data – streamwise line

## Slide 8: BEACon – Streamwise line (LES & Fuga)
 DKHR inflow profile used for Fuga

## Slide 9: BEACon data – horizontal profiles

## Slide 10: BEACon data
Instead of comparing full fields, comparing power at the turbines
  Error bar available for BEACon power data?
  Longer row?

## Slide 11: Optimization method – 6WT
Full wake 14 m/s – 6WT – TI 3,5%
Single wake 1 14 m/s – 1WT – TI 3,5%

## Slide 12: Optimization method – 6WT
Full wake 14 m/s – 6WT – TI 3,5%
Single wake 1 14 m/s – 1WT – TI 3,5%

## Slide 13: Optimization method – 6WT
Full wake 14 m/s – 6WT – TI 3,5%
Single wake 1 14 m/s – 1WT – TI 3,5% Single wake 2:N 11,2 m/s – 1 WT – TI 8%

## Slide 14: Optimization method – 6WT
Full wake 14 m/s – 6WT – TI 3,5%
Single wake 1 14 m/s – 1WT – TI 3,5% Single wake 2:N 11,2 m/s – 1 WT – TI 8%

## Slide 15: Optimization method – 6WT
Coefficients
Less than linear superposition

## Slide 16: Optimization – different spacing
Full wakes 14 m/s, TI 3,5%
  5 WT – S=7,4R
  4 WT – S= 9,9R
  3 WT – S = 14,7R
  6 WT – S = 14,8R
Single wake 14 m/s – 1WT – TI 3,5%

## Slide 17: Optimization – different spacing
Do coefficients converge?
Coefficients will be different for different inflow conditions

## Slide 18: Optimization method – different spacing
Relation between coefficients and spacing?

## Slide 19: Optimization – different spacing
Full wakes 14 m/s, TI 3,5%
  5 WT – dx=7,4R
  4 WT – dx= 9,9R
  3 WT – dx = 14,7R
  6 WT – dx = 14,8R
Single wake 1 14 m/s – 1WT – TI 3,5% single wake 2:n 11,2 m/w – 1WT – TI 8%

## Slide 20: Optimization – different spacing
Do coefficients converge? (new LES simulation is running for 10 wind turbines)

## Slide 21: Optimization method – different spacing
Relation between coefficients and spacing?

## Slide 22: Optimization method
What if single Fuga wake is used?
What is single Park wake is used?

## Slide 23: Next steps
Optimization method
  Coefficients
Comparison of power for BEACon
Final draft: Monday 9/07? Green light meeting?
Final hand-in: Tuesday 31/07
Defence: Wednesday 15/08
Next meeting?