## Slide 1: Meeting 7
Tuesday 13/02/2018

## Slide 2: Agenda
Park model
  Test case
  CT curve
BEACon data
LES results
WAsP & Fuga
Next steps

## Slide 3: Park model
Implemented methods
  Park 1 or Park 2: correction term
  Area Averaging: A_overlap/A_rotor for any point in space
  Superposition method: linear, maximum deficit or quadratic
  Wake reflection
Section in 3 directions
  Horizontal at chosen height
  Vertical at downstream position
  Vertical at cross-stream position

## Slide 4: Park model: horizontal section
Notes: Park 1
Quadratic
K=0,04
With wake reflection

## Slide 5
Park model: horizontal section

## Slide 7: Test case

## Slide 8: Test Case

## Slide 9: CT curve

## Slide 10
U/U0 | CT curve from LES simulations | CT curve from WMR turbine
Turbine 1 | 1 | 1
Turbine 2 | 0,85 | 0,89
Turbine 3 | 0,73 | 0,80
[-] | CT curve from LES simulations | CT curve from WMR turbine
 | CT curve from LES simulations | CT curve from WMR turbine
[-] | CT curve from LES simulations | CT curve from WMR turbine
Turbine 1 | 0 | 0
Turbine 2 | 0,15 | 0,11
Turbine 3 | 0,27 | 0,20
 | CT curve from LES simulations | CT curve from WMR turbine
Turbine 1 | 0 | 0
Turbine 2 | 0,15 | 0,11
Turbine 3 | 0,27 | 0,20

## Slide 11: BEACon data
10-min average
How are the data interpolated?
  Data is given in Cartesian X,Y,Z frame
  Measurements are in tilted plane

## Slide 12: LES results

## Slide 13: WAsP & Fuga
No met. data available Used data from another project, does not change Fuga results
WT file:
  CT curve of LES data

## Slide 14: Next steps