## Slide 1: Meeting 16
Dinsdag 26/06/2018

## Slide 2: Agenda
Comparison LES and Park
Optimization method
LES superposition
Practical questions

## Slide 3: Comparison LES and Park (=14m/s)
WT spacing: 4,9D
2nd wake:
Not clear
3rd wake:
Quadratic (no CF): underprediction
Max deficit (no CF): Overprediction
Other methods: strong underprediction

## Slide 4: Comparison LES and Park (=14m/s)
WT spacing: 3,7D
2nd wake:
Not clear
3rd wake:
Quadratic (no CF): underprediction
Max deficit (no CF): Overprediction
Other methods: strong underprediction
4th wake:
Max deficit (no CF): good agreement

## Slide 5: Comparison LES and Park (=14m/s)
WT spacing= 7,4D
2nd wake:
Not clear
3rd – 5th wake:
Quadratic (no CF): underprediction , good ageement in near wake
Max deficit (no CF): Overprediction , good agreement in far wake
Other methods: strong underprediction

## Slide 6: Comparison LES and Park (=11,2m/s)
WT spacing= 7,4D
2nd wake:
Not clear
3rd wake:
Quadratic & max deficit (no CF): overprediction
Quadratic & max deficit (CF) : underprediction
The same trend as for 14m/s, but difficult to make conclusions

## Slide 7: Optimization methods
Method A
Method B
x/R

## Slide 8: Optimization methods
x/R

## Slide 9: Optimization methods

## Slide 10: Optimization methods – different spacing

## Slide 11: Optimization methods – different spacing
Method A
What if only coefficients of S=3.3D, S=3.7D and S7.D available? Can I predict the alpha coefficients for S=4,9D?

## Slide 12: Optimization methods – different spacing
Method B
What if only coefficients of S=3.3D, S=3.7D and S7.D available? Can I predict the beta coefficients for S=4,9D?

## Slide 13: Optimization methods – Park wake

## Slide 14: Optimization methods – Park wake

## Slide 15: Optimization methods – Park wake
Short Park wake + extrapolation

## Slide 16: Optimization methods – Park wake
Short Park wake + extrapolation

## Slide 17: Optimization methods – LES vs. Park wake

## Slide 18: LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 8,6 m/s TI 3,5%

## Slide 19: LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 8,6 m/s TI 3,5%

## Slide 20: LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 11,2 m/s TI 8%

## Slide 21
LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 8,6 m/s TI 3,5%
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 11,2 m/s TI 8%

## Slide 22
LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 8,6 m/s TI 3,5%
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-6: 11,2 m/s TI 8%

## Slide 23
LES superposition
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-13: 8,6 m/s TI 3,5%
Wake 1: 14m/s, TI 3,5%
Wake 2: 11,2 m/s, TI 8%
Wake 3-13: 11,2 m/s TI 8%

## Slide 24: Practical
Final draft
  Sketches
  List of symbols and abbreviations
  Acknowledgement & Abstract
Thesis defence?