## Slide 1: Meeting 12
Tuesday 24/04/2018

## Slide 2: Agenda
BEACon – SCADA data
Stability
Comparison of results

## Slide 3: BEACon - SCADA data
Case 1: U0=12 m/s

## Slide 4: BEACon - SCADA data
Case 2: U0=9 m/s

## Slide 5: BEACon - SCADA data
Case 3: U0=9,7 m/s

## Slide 6: Stability
3 datasets:
  Satellite data: little good data due to clouds
  WRF simulations
    DK-HR (3/01/2017 00:00 – 22/05/2017 23:00)
    ENTSO-E (1/01/2017 00:00 – 23/06/2017 22:00, 10km resolution)
Surface Sea Temperature
Potential temperature (the temperature you get if you move an air parcel adiabatically to the surface)
Temperature
Pressure

## Slide 7: Stability
Well agreement between satellite data and WRF for SST

## Slide 8: Stability
Stable | Neutral | Unstable
Stable | Neutral | Unstable
Adiabatic lapse rate
available for DK-HR and ENTSO-E
available for DK-HR, calculation for ENTSO-E via with Pa

## Slide 9: Stability

## Slide 10: Stability

## Slide 11: Stability – Case 1 (January)

## Slide 12: Stability – Case 2 (April)

## Slide 13: Results
BEACon
LES
Fuga
FUGA | All cases |  |  | Case 1 (JAN) | 
 | Neutral | Stable | Unstable | DK-HR | ENTSO-E
 | 0,0001 | 0,0001 | 0,0001 | 1,21 .10^(-4) | 1,34 .10^(-4)
 | 0 |  |  | 4,35 .10^(-7) | 2,95 .10^(-7)
FUGA | All cases |  |  | Case 1 (JAN) | 
 | Neutral | Stable | Unstable | DK-HR | ENTSO-E
 | 0,0001 | 0,0001 | 0,0001 | 1,21 .10^(-4) | 1,34 .10^(-4)
 | 0 |  |  | 4,35 .10^(-7) | 2,95 .10^(-7)
Case 1 (JAN) via Fuga:
U0=11,97 m/s at 106 m
T at 10 m
T at 100 m

## Slide 14: Inflow profiles – Case 1 (January)

## Slide 15: Results – Case 1 (January)

## Slide 17: Inflow profiles – Case 2 (April)

## Slide 18: Results – Case 2 (April)

## Slide 20: Inflow profiles – Case 3 (August)

## Slide 21: Results – Case 3

## Slide 23: Next steps
Fit Fuga inflow profiles (based on and )
Fuga superposition of single wakes
LES superposition of single wakes
Comparison with Park
Next meeting: Tuesday 8/04 (only morning possible for me) Tuesday 15/4 + shifting all meetings with one week

## Slide 24: Comparison data & Park (Case 1)
Data at 100m height Park: quadratic superposition, with correction factor and wake reflection