## Slide 1: Meeting 13
Wednesday 16/05/2018

## Slide 2: Agenda
Timeline + the next big steps
Comparison wakes: Fuga – LES
  Single wake
  Full wake
LES superposition
Fuga superposition
Single wake calibration: LES - Park

## Slide 3: 1. Timeline
Final draft: 09/07/2018
Green light:
16/07/2018
Final hand-in
31/07/2018
Defence/Graduation:
13-16/08/2018
(ok for Carlos? 15/08 holiday?)

## Slide 4: 1. The big next steps
Single wake superposition
  LES
  Fuga
Comparison
  Datasets
    BEACon
    LES: full wake + LES superposition
    Park
    Fuga: full wake + Fuga superposition
  Focus on
    Horizontal profiles + maximum deficit
    Wake boundary
    Wake recovery (streamwise line + rotor averaged)
    Case 2: wake change upstream
 | Case 1 | Case 2 | Case 3 | Case* 14 m/s | Case* 11,2 m/s
BEACon | X | X |  |  | 
LES | X |  | (X) | X | X
Park | X | X | X | X | X
Fuga | X | X | X | X | X
Case*: with NM80 wind turbine
(X): old inflow profile
Notes: Case*: with NM80 wind turbine
(X): old inflow profile

## Slide 5: 1. The big next steps
Conclusions
  Comparison
  Is superposition the bottle neck or the uncertainties in the data?
Writing (continuously) Update literature study/midterm report

## Slide 6: 2a. Comparison single wakes: Fuga - LES
U0=14 m/s U0=11,16 m/s

## Slide 7
U0=14 m/s
U0=11,16 m/s

## Slide 8
U0=14 m/s U0=11,16 m/s

## Slide 9: 2b. Comparison full wakes: Fuga - LES
U0=14 m/s

## Slide 10: 2b. Comparison full wakes: Fuga - LES

## Slide 11: 3. LES superposition
U0=14 m/s
No shear, no vear
TI=4%
NM80
No hub height (floating wind turbine rotor)
3 single wakes, “full wake” with 3 WT

## Slide 12: 3. LES superposition
Wake 1: single wake with U0=14 m/s
Define horizontal wind speed at hub height at location of second wind turbine in wake 1 (U=11,16 m/s)
Wake 2: single wake with U0=11,16 m/s
Define horizontal wind speed at hub height at location of third wind turbine in wake 2 (U=8,54 m/s)
Wake 3: single wake with U0=8,54 m/s (or scaled version)
 | Wake 1 | Wake 2 | Wake 3
U0 | 14 m/s | 11,16 m/s | 8,54 m/s
U0 | 11,16 m/s | 8,55 m/s | … m/s

## Slide 13: 3. LES superposition

## Slide 14: 3. LES superposition

## Slide 15: 3. LES superposition

## Slide 16: 3. LES superposition – wake width
Wake boundary at 0,98*U0

## Slide 17: 3. LES superposition

## Slide 18: 3. LES superposition

## Slide 19: 3. LES Superposition

## Slide 20: 3. LES superposition: Rotor averaged wind speed
Not possible to superpose the vertical planes due to the saved positions of the vertical planes
Weighting function used to calculate the rotor averaged wind speed, making use of the horizontal profiles
Full 3WT LES simulation
  Horizontal profile + weighting function
  Rotor averaged wind speed in vertical plane
   Linear weighting function

## Slide 21: 3. LES superposition: Rotor averaged wind speed

## Slide 22: 3. LES superposition: Rotor averaged wind speed

## Slide 23: 4. Fuga superposition
Same method used as LES superposition
NM80, but CT curve slightly changed
Hub height at 200m + unstable inflow profile  very low shear
 | Wake 1 | Wake 2 | Wake 3
U0 | 14 m/s | 13,70 m/s | 13,38 m/s
U0 | 11,16 m/s | 10,85 m/s | 10,55 m/s

## Slide 24: 4. Fuga superposition
Difference between linear superposition and full wake
  Probably (linearly) superposed wind speed of wake 1 and wake 2 taken as inflow wind speed for wake 3

## Slide 25: 5. Single wake calibration: LES - Park
Calibrate the single Park wake with the single LES wake
  Wake expansion coefficient k
Based on
  Wake width
  Rotor averaged wind speed
Variables that remain  12 possibilities
  Superposition method: linear, quadratic or max deficit
  Correction factor: true or false
  Wake reflection: true or false

## Slide 26
U0=14 m/s

## Slide 27: 5. Single wake calibration: LES - Park
U0=14 m/s

## Slide 28
U0=14 m/s
5. Single wake calibration: LES - Park

## Slide 29: Next steps
Calibrate single Park wake with BEACon (if possible?)
Compare full fields
  Park – LES – Fuga (with NM80 wind turbine)
  Park – BEACon – Fuga (with WMR wind turbine)
Can LES superposition be improved?
  Scaling factor?
  Different inflow wind speed?